Requirements & Design Specification

Project: KETCo Unified Digital Platform

Date: October 2026

# Problem Definition & Scope

Organization Profile

The Kerry Environmental Testing Cooperative (KETCo) is in Tralee, County Kerry. KETCo tests water and soil for local customers. Customers can bring samples directly to the laboratory in Tralee. Field technicians can also collect samples at scheduled collection points.

There are three causes for a test request:

- General monitoring of the environment

- Specific project work

- Investigations after an unusual test result

Present Process

- Intake and Data Logging: Staff write customer requests, sample labels, collection data, and test assignments by hand. Staff use paper forms, spreadsheets, and emails.

- Sample Collection: Customers, field technicians, or partner organizations collect samples.

- Receipt and Quality Screening: Staff examine incoming samples for leaks, correct labels, temperature changes, or low volume. Then, staff write a laboratory reference number on the sample.

- Internal Routing: Samples move between laboratory stations. Staff track these steps with paper sheets and handwritten labels.

- Testing and Referral: The laboratory manager gives tests to analysts. Analysts frequently split samples or send samples to external laboratories.

- Review and Reporting: Analysts record data and do calculations manually. A reviewer must examine the data before the laboratory sends the report. If staff find errors, they must do a manual workflow to make a replacement report.

Core Business Problems and Consequences

- Too Much Administration: Staff write the same data many times in separate paper logs. This causes delays.

- Data Errors: Staff use different names for the same location. Handwritten labels are difficult to read.

- Custody Failure: Staff use separate paper sheets. This makes a complete custody history difficult to make. Staff mix up similar sample bottles.

- Sample Loss Risk: The laboratory cannot easily verify sample containers, preservation methods, and time limits. Analysts test degraded samples, which gives incorrect data.

- Security Vulnerabilities: Clients can see data before the technical review. The system does not isolate customer data.

Desired Outcomes

- One Digital Platform: Replace paper, spreadsheets, and emails with one central computer system.

- Digital Chain of Custody: Create a digital log to track samples from collection to disposal.

- Standard Locations: Separate general customer locations from precise GPS coordinates in the database.

- Real-Time Visibility: Show the laboratory manager the live status of samples, active tests, and reports.

- Report Governance: Send secure reports that keep a history of report versions and change notes.

Known Evidence

- The system must manage only water and soil samples.

- Internet access is stable in Tralee but unreliable in rural areas.

- One request can have many samples. One sample can have many tests.

- Database records for sample fractions must link to the original sample.

- Instruments need calibration and quality control (QC) checks. Failed checks delay tests.

- Unusual results do not automatically prove pollution.

Boundary and Scope

In-Scope Functions:

- Intake: Record requests and sample suitability digitally.

- Mapping: Separate broad locations from GPS coordinates.

- Custody Log: Create timestamped tracking of sample movement.

- Architecture: Link sample fractions and external laboratory records to the original sample.

- Management: Match tests to analysts by training certificates. Track test statuses and raw measurements.

- Instruments: Log equipment status, calibration results, and QC checks.

- Reporting: Generate reports with version numbers and revision notes.

Out-of-Scope Functions:

- Instrument Interfacing: The system will not connect to laboratory hardware. Analysts must input all data manually.

- Regulatory Tracking: The system will not evaluate statutory limits or send alerts to authorities.

- Accounting: The system will not process invoices or billing.

- Consultation: The system will not give professional environmental advice.

External Dependencies

- Rural Network Infrastructure: Field operations depend on mobile networks or offline data storage.

- Partner Data Accuracy: Tracking depends on partner organizations that record data at drop-off points.

- Third-Party Laboratories: Final reports depend on the schedule of external laboratories.

Critical Information Gaps

- Acceptance Rules: The criteria for provisional acceptance and maximum holding times.

- Rejection Matrix: Rules that map physical defects to sample rejection.

- Tracking Standards: The database naming standard for sample fractions.

- Privilege Matrix: Definitions of user roles for test approvals and overrides.

- SLA Logic: System logic to recalculate completion dates when instruments fail.

- Correction Governance: The review workflow necessary to approve replacement reports.

- Access Controls: A matrix to restrict view permissions by user type.

# Stakeholders, Actors, & Goals

Stakeholder Catalogue

Direct Stakeholders (Actors):

- Reception Technician: Generates laboratory reference numbers. Checks paper forms and records sample conditions (temperature, volume, leaks). Manages provisional acceptance states.

- Field Technician: Records GPS coordinates for sample points. Records preservation steps. Starts the chain of custody log with offline tools.

- Analyst: Selects test tasks by training certificate. Records raw measurements and equipment calibrations. Flags unusual data.

- Quality Manager: Audits test results. Verifies equipment calibration. Approves final reports and authorizes new report versions.

- Laboratory Manager: Monitors dashboards for workflow delays and equipment status. Manages external laboratories and tracks reports.

- Customer Contacts: Submit online requests. Track sample suitability status. Receive delay alerts and view secure reports.

Indirect Stakeholders:

- Community Groups and Project Sponsors: Use test data to get funding, show data to local assemblies, or monitor water sources.

- Farms and Business Owners: Require data privacy to make business decisions without risk from competitors.

- Cooperative Board Members: Require a system that stops manual data entry, protects the cooperative from liability, and allows business growth.

External Stakeholders:

- Partner Organisation: Coordinates collection logistics. Delivers samples with data and uses interfaces at drop-off points.

- External Specialist Laboratory: Receives sample fractions with original references. Performs special tests and returns data.

- Regulatory and Accreditation Frameworks: Command rules that separate raw data, provisional calculations, and approved results.

Actor-Goal Catalogue

| Actor Name | Actor Type | System Goal / Core Concern | Influence Level |
| --- | --- | --- | --- |
| Customer Contact | Primary | Submit requests, view suitability alerts, download approved reports. | High |
| Reception Technician | Primary | Generate reference IDs, record sample conditions, manage provisional states. | High |
| Field Technician | Primary | Log GPS coordinates, start custody logs from rural zones. | Medium |
| Analyst | Primary | Do calibrations, log measurements, calculate provisional values. | High |
| Quality Manager | Primary | Verify test results against QC checks, approve versioned reports. | High |
| Laboratory Manager | Primary | Monitor dashboards for delays, instrument downtime, and approvals. | High |
| Partner Organisation | Supporting | Synchronize rural data, verify custody transfers. | Medium |
| External Laboratory | Supporting | Accept sample fractions, return test results. | Medium |
| Cooperative Board | Offstage | Ensure data integrity, prevent mix-ups, remove manual entry. | High |
| Compliance Auditor | Offstage | Verify unalterable audit trails that separate raw data from results. | High |

# 3. Requirements & Business Rules

## Requirements Catalogue

| ID | Subsystem / Type | Name | Description | Priori ty |
| --- | --- | --- | --- | --- |
| FR-101 | Intake & Sample Registration | Unique Identification Generation | The system must automatically generate and assign a unique laboratory_reference ID to every sample at the moment of receipt check. | Must |
| FR-102 | Intake & Sample Registration | Spatial Coordinate Mapping | The system must record exact sampling_point_co ordinates (GPS data) and enforce a link to a parent location_id. | Must |
| FR-103 | Intake & Sample Registration | Conditional Acceptance Status Management | The system must let a reception technician assign a status of Provisionally Accepted and force the entry of receipt_condition_notes if data is incomplete. | Must |
| FR-104 | Intake & Sample Registration | Sample Suitability Evaluation Matrix | The system must evaluate receipt_temperature, container_type_used, and elapsed time against test_type_code rules to verify if a sample is fit for specific assays. | Shoul d |
| FR-105 | Core Tracking & Custody | Parent-Child Fraction Splits | The system must support splitting a sample into fractions by creating a new sample record with a parent_sample_reference foreign key. | Must |
| FR-106 | Core Tracking & Custody | Immutable Chain of Custody Logging | The system must automatically add a row to the Chain of Custody Log Entry table when a sample's transferred_to_location or handler_staff_id changes. | Must |

| FR-107 | Lab Operations & QC | Data Segregation & Promotion Workflow | The system must separate observation_me asurements_raw and provisional_value fields from the reportable_result field until technical review is complete. | Must |
| --- | --- | --- | --- | --- |
| FR-108 | Lab Operations & QC | Dynamic Assignment Validation Check | The system must verify the assigned_analyst_id against the employee's certified_methods list before saving a test assignment. | Shoul d |
| FR-109 | Lab Operations & QC | Instrument Interoperability Block | The system must change a Requested Test Assignment status to Delayed if the linked instrument_id has a status of Out of Service or a QC check of Fail. | Must |
| FR-110 | Outputs & Reports | Versioned Correction Tracking | The system must increment the report_version_number and force the entry of text into revision_reason_notes when a replacement report is generated. | Must |
| FR-111 | Outputs & Reports | Management Alert Escalation Dashboard | The system must create a view that shows unapproved corrected reports, active is_unusual_result flags, external referrals, and instrument delays for the Laboratory Manager. | Shoul d |
| NFR-2 01 | Offline Queue Data Resilience | Capacity & Sync Reliability | The field module must store up to 200 data logs offline when network connection drops. It must automatically synchronize data with the central Tralee database within 30 seconds of network reconnection. | Must |
| NFR-2 02 | Multi-Tenant Tenant Separation | Security / Data Privacy | The data tier must filter database queries using the commercial_sensitivit y_flag and customer_id. The system must return an HTTP 403 Forbidden error if users try to read data outside their authorized scope. | Must |
| NFR-2 03 | Automated Alert Notification Latency | Performance / Speed | The notification subsystem must send automated email or SMS alerts to the nomination_contacts_list within 5 minutes when a sample changes to a Rejected or Delayed status. | Shoul d |
| NFR-2 04 | Out-of-Scope System Boundaries | Maintainability / Boundary Constraint | The system architecture must have zero software dependencies on external modules for client invoicing, automated sensor telemetry parsing, or regulatory enforcement actions. | Must |

## Business Rules & Constraints Register

Role-Based Testing Assignments: Staff can assign tests to analysts only if the analyst has recorded training records for that specific method.

Mandatory Data Separation: The system must separate general geographic descriptions from precise GPS data in the database.

Result Verification and Release Hierarchy: Raw data from an instrument are provisional values. The system must prevent the release of provisional values to customers until a Quality Manager approves the final report.

Data Access Restrictions: If a customer record has a commercial sensitivity flag, the system must hide these testing results from all other customers.

## Assumptions & Constraints

Provisional Sample Lifespan: The system assumes a maximum holding shelf-life of 48 hours for provisional samples before automated rejection occurs.

Component-Level Suitability: The system assumes that if one test fails sample suitability, other compliant tests on the same sample can stay active.

Chain of Custody Inheritance: Sample portions or external referrals automatically inherit the primary Laboratory Reference ID as a parent reference.

Unreliable Rural Connectivity: Internet access is stable at the Tralee office but unreliable at rural collection points. The field module must support offline data entry.

Strict Out-of-Scope Boundaries: The project must exclude instrument hardware APIs, compliance alerts, customer invoicing, and professional advice.

## Risks

Bottle Confusion & Chain Traceability Breakdowns: If the digital custody process is too complex, lab staff might bypass it, which will continue sample mix-ups.

Scope Creep from Premature Instrument Integration: Misaligning the boundary between manual entry and machine data extraction will cause project delays.

Data Siloing Between Roles: Failing to reconcile what data each role is authorized to see could cause data leaks or visibility blocks.

## Clarification Questions

- Provisional Windows: What is the maximum time a sample can stay provisionally accepted before automatic rejection?

- Suitability Matrix: Is there a matrix that maps specific container defects directly to the tests they invalidate?

- Approval Authorities: Which specific roles can authorize repeat tests, method departures, or corrected reports?

- Customer Communication Protocols: Should updated completion dates notify the customer immediately or wait for manager review?

- Granular Access Control: What specific fields should be visible to partner organizations versus field technicians?

# 4. Behavioural & Use-Case Modelling

## UC-101: Register Sample & Verify Suitability

| ID / Name | UC-101 Register Sample & Verify Suitability |
| --- | --- |
| Actor | Reception Technician |
| Preconditions | - System is online. - Physical sample arrives at Tralee lab. - Sample Request exists. |
| Trigger | Technician starts intake on the system. |
| Basic Flow | - Select request_id. - Select Sampling Location and precise GPS SamplingPoint. - Input: sample_type, collected_date_time, collector_id,container_type_used, receipt_temperature, and receipt_quantity_volume. - System generates unique laboratory_reference ID. - System evaluates sample metrics against matrix rules.6. System checks pass; sets acceptance_status to "Accepted". - System creates first Chain of Custody Log Entry (setslocation to "Reception"). - System shows confirmation text. |
| Alternative Flows | AF-1: Data Incomplete / Near Limits - System prompts for receipt_condition_notes. - Technician inputs data defects. - System sets status to "Provisionally Accepted". - System starts 48-hour rejection timer. - Go to Step 7. AF-2: Split Sample (Parent-Child) - Operator selects split command. - System creates sub-sample record. - System copies parent ID to parent_sample_reference. - For external tests: Set is_external_referral to "True" andenter external_laboratory_id. |
| Exception Flows | EF-1: Critical Defect (Leak, Expired Time, Wrong Container) - System detects critical rule failure. - System sets status to "Rejected" and locks sample. - Subsystem sends alert to nomination_contacts_list within 5minutes. - Process ends in failure. |
| Postconditions | Success: Sample saved with unique ID; status is "Accepted" or "Provisionally Accepted"; custody log starts. Failure: Status is "Rejected"; testing is blocked; customer is notified. |
| Rules | - GPS: Separate broad locations from precise GPS coordinates. - Timer: Provisional state expires after 48 hours. - Privacy: If commercial_sensitivity_flag is "True", hide data from other customers. |

## UC-102: Track Field Collection & Map Coordinates

| ID / Name | UC-102 Track Field Collection & Map Coordinates |
| --- | --- |
| Actor | Field Technician |
| Preconditions | - Mobile application is open in offline mode or online mode. - Valid Sample Request exists. |
| Trigger | Technician extracts a physical sample at a rural point. |
| Basic Flow | - Select active request_id. - Capture precise GPS sampling_point_coordinates. - Enforce link to parent broad location_id. - Log collected_date_time, preservation_methods_applied,and container_type_used. - Start initial Chain of Custody Log Entry locally. - Save transaction to local cache. |
| Alternative Flows | AF-1: Network Connection Restored - System detects active internet access at Tralee office. - System auto-triggers synchronization within 30 seconds. - Uploads up to 200 cached logs to central database. |
| Exception Flows | EF-1: Invalid Spatial Data - GPS signal fails or coordinate string is corrupt. - System blocks log submission and requests manuallocation checkpoint overrides. |
| Postconditions | Success: Precise coordinates mapped; offline log created and queued for synchronization. |
| Rules | - Offline Capacity: Store up to 200 data logs locally without server network drops. - Isolation: Strict database isolation prevents coordinate leaks to external entities. |

## UC-103: Log Chain of Custody & Internal Transfers

| ID / Name | UC-103 Log Chain of Custody & Internal Transfers |
| --- | --- |
| Actor | Reception Technician / Analyst |
| Preconditions | - Sample has valid laboratory_reference ID. - Active custody log row exists. |
| Trigger | Physical bottle moves to a new internal station (e.g., preparation, testing, storage). |
| Basic Flow | - Scan or input target laboratory_reference ID. - Select active transferred_to_location. - Input mandatory bench_sheet_reference. - System auto-captures current handler_staff_id andtransfer_date_time. - Append new row entry to Chain of Custody Log Entrytable. |
| Alternative Flows | AF-1: Split Portion Inheritance - At step 1: Sample is a split child portion. - System checks parent_sample_reference and copieshistoric custody metadata automatically. |
| Exception Flows | EF-1: Incomplete Station Step - Handler leaves station fields blank or types invalid handlerID. - System halts custody row generation; flags tracking errorto prevent bottle confusion. |
| Postconditions | Success: Unalterable digital log appended; tracking history remains continuous and audit-ready. |
| Rules | • Immutability: Existing rows in the custody log cannot be edited or deleted by any user role. |

## UC-104: Calibrate Instrument & Verify QC Checks

| ID / Name | UC-104 Calibrate Instrument & Verify QC Checks |
| --- | --- |
| Actor | Analyst |
| Preconditions | 1. Master profile instrument_id exists in the registry. |
| Trigger | Routine scheduled check or pre-test validation is required. |
| Basic Flow | - Select target instrument_id. - Select check_type (Routine Calibration or Pre-test QCCheck). - Input numeric qc_metric_measurements from devicedisplay manually. - System matches metrics against acceptable error ranges.5. Metrics pass; system updates qc_check_result to "Pass" and availability_status to "Available". |
| Alternative Flows | AF-1: QC Check Failure - At step 5: Error margins exceed limits; system setsqc_check_result to "Fail". - System flags machine availability_status as "Out ofService". |
| Exception Flows | None. (This use case establishes operational reference logs). |
| Postconditions | Success: Instrument profile updated with new timestamped calibration log entry. |
| Rules | • Interoperability Block: No test assignments can execute on devices with a "Fail" status. |

## UC-105: Execute Test Assignment & Log Measurements

| ID / Name | UC-105 Execute Test Assignment & Log Measurements |
| --- | --- |
| Actor | Analyst |
| Preconditions | - laboratory_reference is "Accepted". - Device calibration log reads "Pass". |
| Trigger | Workflow allocation pushes a pending Requested Test Assignment. |
| Basic Flow | - Verify assigned_analyst_id aligns with certified_methods. - Change status to "In Progress". - Execute manual assay; input raw machine numbers intoobservation_measurements_raw. - Calculate and input the initial provisional_value. - Set assignment status to "Awaiting Review". |
| Alternative Flows | AF-1: Instrument Delay Event - System finds linked instrument is "Out of Service". - System auto-changes status to "Delayed" and triggersdynamic SLA recalculation. AF-2: Method Departure Event - Analyst alters path; system forces entry of data intoanalyst_notes_departures. |
| Exception Flows | EF-1: Data Anomaly Detection - Input numbers breach standard variance baselines. - System flags is_unusual_result as "True" and locks valuesfor manager review. |
| Postconditions | Success: Raw and provisional data recorded; data fields are segregated from client view. |
| Rules | • Data Segregation: provisional_value field is completely hidden from customers. |

## UC-106: Review Test Results & Authorize Report

| ID / Name | UC-106 Review Test Results & Authorize Report |
| --- | --- |
| Actor | Quality Manager / Authorized Reviewer |
| Preconditions | 1. All sample assignments show status "Awaiting Review". |
| Trigger | Manager opens the verification profile list. |
| Basic Flow | - Select target request_id report structure. - Audit matching observation_measurements_raw andinstrument calibration state histories. - Confirm data integrity; system copies provisional_valuedata into reportable_result. - Click authorization button; system creates a newLaboratory Report record. - Set report_version_number to 1 and report_type to"Approved Report". - Save authorised_reviewer_id and timestamp. |
| Alternative Flows | AF-1: Re-Test / Repeat Verification Trigger - Manager finds a calculation flaw or method variance error.• Manager populates repeat_testing_authorised_by field with their staff ID. - Re-sets test status back to "Scheduled"; clears raw valuetext buffers. |
| Exception Flows | None. |
| Postconditions | Success: Finalized results promoted to report status; report unlocked for customer portal access. |
| Rules | • Hierarchy: Only accounts matching the Quality Manager role can generate authorization keys. |

## UC-107: Authorize Version-Controlled Corrected Report

| ID / Name | UC-107 Authorize Version-Controlled Corrected Report |
| --- | --- |
| Actor | Quality Manager |
| Preconditions | 1. An initial version-1 Approved Report was previously released. |
| Trigger | Staff discover an accurate post-release error requiring a manual data revision. |
| Basic Flow | 1. Open the historically released report_id template record. 2. Modify incorrect numerical metrics inside the specific reportable_result field. - System forces entry into the revision_reason_notes textarea. - Type specific reasons explaining the data shift. - System auto-increments report_version_numbersequentially (e.g., from 1 to 2). - Set report_type flag parameter to "Corrected Report". - Append digital signature token, release files, and updaterecipient_delivery_log. |
| Alternative Flows | None. |
| Exception Flows | EF-1: Blank Justification Error - Manager attempts to save changes without completingexplanation text blocks. - System blocks execution; report version roll-forward iscancelled. |
| Postconditions | Success: Correction generated; unalterable history logs containing past text variants are preserved. |
| Rules | • Governance: Corrected reports stay blocked from release until a final Quality Manager override. |

## UC-108: Monitor Operations Dashboard & Bottlenecks

| ID / Name | UC-108 Monitor Operations Dashboard & Bottlenecks |
| --- | --- |
| Actor | Laboratory Manager |
| Preconditions | 1. Central system holds real-time transaction tables. |
| Trigger | Manager logs into system console to review operational workflow velocity. |
| Basic Flow | - Open live operations management aggregationdashboard. - System queries database schema for active operationsmetrics. - Render summary view containing: - Count of samples awaiting intake verification checksequences. - Count of assignments running or marked as delayed. - Active is_unusual_result anomaly indicator flags. - Instrument down-time statuses and external referrals. - Pending unapproved versioned corrected reports. |
| Alternative Flows | None. |
| Exception Flows | None. |
| Postconditions | Success: Manager obtains visibility into performance bottlenecks; system data remains unedited. |
| Rules | • Scope Limit: View provides statistics only; it contains no invoicing metrics or automation APIs. |

## UC-109: Access Authorized Laboratory Reports Securely

| ID / Name | UC-109 Access Authorized Laboratory Reports Securely |
| --- | --- |
| Actor | Customer / Community Group Nominated Contact |
| Preconditions | - User account profile has secure access credentials. - Target report status is authorized. |
| Trigger | Client logs into online web portal interface to download completed data outputs. |
| Basic Flow | - Request file display list matching active customer_idcontext filter. - System evaluates commercial_sensitivity_flag stateconfiguration parameters. - System runs tenant-separation rules to hide unrelatedcustomer profiles. - Select desired report_id item row. - System displays authorized reportable_result vectors andfull chronological version stacks. - System logs portal access transaction event withinrecipient_delivery_log array structures. |
| Alternative Flows | AF-1: Community Contact Retrieval - At step 1: Client belongs to a public group. - System scans nomination_contacts_list to confirmmulti-user viewing authorization. |
| Exception Flows | EF-1: Multi-Tenant Breach Rejection - Target customer_id mismatches session token context. - System blocks query immediately; returns an HTTP 403Forbidden error response code. |
| Postconditions | Success: Authorized results displayed; commercial privacy parameters remain intact. |
| Rules | • Tenant Segregation: Query algorithms must systematically block exposure of sensitive commercial details. |

## Gherkin Acceptance Scenarios

## Feature 1: Unique Identification and Spatial Coordinate Mapping

As a Reception Technician or Field Technician
I want to register samples automatically and record their exact locations
So that the system prevents data errors and mix-ups of sample bottles at intake.

- Scenario: System registers an environmental water sample with success (Standard Procedure)

  - Given a valid Sample Request with ID "REQ-2026-001" is in the system

  - And the user is logged in as a "Reception Technician"

  - When the user enters these details:

| field | value |
| --- | --- |
| sample_type | "Water" |
| location_id | "LOC-088" (Broad Location Description) |
| sampling_point_coordinates | "52.2713° N, 9.6994° W" (GPS) |
| container_type_used | "Polyethylene Bottle" |
| receipt_temperature | 4.2 |
| receipt_quantity_volume | 500 |

  - Then the system must generate a unique laboratory_reference ID automatically

  - And the system must set the acceptance_status to "Accepted"

  - And the system must add a new row to the Chain of Custody Log Entry table with the transferred_to_location set to "Reception".

- Scenario Outline: Intake check sets sample to provisional status because data is incomplete

  - Given a physical sample is processed by a "Reception Technician"

  - When a sample has a <condition> defect

  - Then the system must compel the user to enter receipt_condition_notes

  - And the system must set the sample status to "Provisionally Accepted"

  - And the system must start an automatic 48-hour rejection timer.

Examples:

| condition | receipt_condition_notes |
| --- | --- |
| Incomplete tracking paperwork | "Missing signature from rural drop-off point transport log." |
| Borderline temperature window | "Sample arrived at 7.8°C; requires manager evaluation." |

- Scenario: Critical sample defect causes rejection and sends alert to customer (Exception Procedure)

  - Given a physical sample is at the Tralee office

  - When the system finds a critical rule failure because the container_type_used is incorrect for the test

  - Then the system must set the status to "Rejected" and lock the sample record to stop test assignments

  - And the system must send an automatic alert to the nomination_contacts_list in less than 5 minutes.

## Feature 2: Offline Field Collection Coordination

As a Field Technician
I want to record collection data and GPS coordinates with the mobile application when internet is not available
So that the system safely stores collection data in areas with bad network coverage.

- Scenario: System stores collection logs in the local cache when internet is not available

  - Given the mobile application of the Field Technician operates in "Offline Mode"

  - When the technician collects a sample and records exact GPS sampling_point_coordinates linked to a parent location_id

  - Then the system must store the transaction in the local device cache

  - And the system must hold this data in a line of waiting logs.

- Scenario: Automatic synchronization when network connection returns

  - Given the mobile application holds 45 logs in the local cache

  - When the application detects a stable network connection to the central Tralee database

  - Then the system must start automatic synchronization in less than 30 seconds

  - And the system must upload all cached records up to the maximum limit of 200 logs.

## Feature 3: Parent-Child Splitting and Unalterable Chain of Custody Tracking

As an Auditor or Laboratory Worker
I want a history log that cannot be changed to track sample movement and fraction splits
So that the laboratory prevents bottle mix-ups and maintains a complete audit trail.

- Scenario: System generates a child split fraction for an external test

  - Given a parent sample with the unique laboratory reference ID "LAB-2026-999" is in the system

  - When an analyst starts a split command for an external laboratory test

  - Then the system must generate a new sample fraction record

  - And the system must link the parent_sample_reference key to "LAB-2026-999"

  - And the system must set the is_external_referral parameter to True.

- Scenario: Internal location change updates the custody logs automatically

  - Given a sample with laboratory reference "LAB-101" is at "Reception"

  - When the operator moves the physical bottle and updates the location to "Preparation" with a mandatory bench_sheet_reference

  - Then the system must automatically record the current handler_staff_id and the exact transfer_date_time timestamp

  - And users must not be able to edit or delete the data in the Chain of Custody Log Entry table.

## Feature 4: Laboratory Operations and Instrument Status Blocks

As a Laboratory Manager
I want to control test assignments based on analyst training profiles and instrument availability
So that the system prevents invalid data from broken machines or uncertified staff.

- Scenario: System checks analyst certification before a test assignment

  - Given an analyst with ID "ANALYST-02" does not have a training record for method "MET-HEAVY-METALS"

  - When a user tries to assign a pending test assignment of that method type to "ANALYST-02"

  - Then the system must block the assignment

  - And the system must show a validation error message.

- Scenario: Quality control check failure locks the instrument automatically

  - Given an analyst sets the qc_check_result of instrument "SPECTRO-01" to "Fail"

  - When the system schedules laboratory work

  - Then the system must change the status of "SPECTRO-01" to "Out of Service" immediately

  - And the system must change all linked test assignments to "Delayed"

  - And the system must start an automatic calculation to update the estimated completion dates.

## Feature 5: Data Separation and Customer Data Privacy

As a Commercial Customer
I want the system to hide my provisional data and isolate my records from other users
So that the system protects my sensitive data from competitors.

- Scenario: Data separation hides raw measurements from the customer portal

  - Given an analyst enters data into observation_measurements_raw and calculates a provisional_value

  - And the test assignment status is "Awaiting Review"

  - When the customer logs into the web portal to look at the request status

  - Then the system must hide the provisional_value field from the customer view

  - And the system must show only the current step of the workflow.

- Scenario: Quality Manager approves a provisional value to make a reportable result

  - Given a Quality Manager opens the verification list for a completed test batch

  - When the manager approves the raw metrics with the verification button

  - Then the system must copy the provisional_value data into the reportable_result field

  - And the system must make a new Laboratory Report record with report_version_number set to 1.

- Scenario: System blocks a customer query that tries to read data from a different customer

  - Given a customer account for "Customer-A" has the commercial_sensitivity_flag set to True

  - When a user with a session for "Customer-B" tries to look at a report URL that belongs to "Customer-A"

  - Then the data tier must filter the database response to hide the data

  - And the system must return an HTTP 403 Forbidden error status code.

## Feature 6: Versioned Report Governance

As a Quality Manager
I want the system to compel the entry of revision notes when a report is corrected
So that the laboratory maintains a complete history of report changes for compliance audits.

- Scenario: System compels revision notes and increases the version number for a corrected report

  - Given an approved report has a report_version_number of 1 and a report_type of "Approved Report"

  - When the Quality Manager changes the values in the reportable_result fields

  - And the manager enters "Corrected mercury scale calibration variance discovered post-release" into the revision_reason_notes field

  - Then the system must increase the report_version_number to 2 automatically

  - And the system must change the report_type to "Corrected Report"

  - And the system must store the old text data in the historical version log.

- Scenario: System blocks a report correction if the revision notes field is empty (Exception Procedure)

  - Given a version 1 report is visible on the customer portal

  - When the Quality Manager changes data in the reportable_result field but leaves the revision_reason_notes field empty

  - Then the system must stop the save operation immediately

  - And the system must stop the report version increase

  - And the system must show this error message: "Revision reason notes are mandatory for corrected report generation."

# 5. Domain Analysis & Conceptual Model

## Candidate-Concept Analysis

| Concept Name | Definition and System Role | Key Attributes | Business Rules and Logic Constraints |
| --- | --- | --- | --- |
| Customer | A person, farm, business, or group that requests a test. | ID, Name, Type, Contact List, Privacy Status. | • Do not show customer data to other customers. • Community groups can have many contacts. |
| Field Technician | Staff who collect samples, find GPS coordinates, and preserve samples. | ID, Name, Equipment ID, Field Log. | • Must record precise GPS coordinates, not broad descriptions. |
| Reception Technician | Staff who receive samples, check forms, and assign reference numbers. | ID, Intake Time, Visual Log. | • Determines sample suitability. • Changes status to provisional acceptance. |
| Analyst | Laboratory specialist who does tests, calibrates equipment, and records data. | ID, Name, Certificate List, Capacity. | • System assigns tests by analyst certificate, equipment status, and workload. |
| Quality Manager | Staff who verify test data, check equipment, and approve final reports. | ID, Verification Stamp, Override Log. | • Must accept results before the system adds them to an approved report. |
| Laboratory Manager | Staff who monitor workflow delays, equipment status, and referrals. | ID, Dashboard ID, Alerts, Metrics. | • Monitors samples, active tests, external referrals, and unapproved corrections. |
| Partner Organisation | An external group that collects samples or helps with logistics. | ID, Name, Collection Point, Logistics Type. | • Uses offline tools because rural internet access is unreliable. |
| External Laboratory | A third-party laboratory that does special tests. | ID, Name, Test Capabilities, Transfer Logs. | • System must link external test results to original sample fractions. |
| Sample Request | A digital form with customer data, sample details, and required tests. | ID, Customer ID, Target Time, Status. | • A parent record. One request can have many distinct samples. |
| Sampling Location | A broad geographical description from a customer. | ID, Descriptive Name, Property Data. | • Not precise. Staff must resolve this to an exact sampling point. |
| Sampling Point | Precise GPS coordinates where a technician collected a sample. | ID, Location ID, GPS Coordinates. | • Mandatory for data integrity. Technicians must log this during collection. |
| Environmental Sample | A specific quantity of water or soil collected for a test. | Reference UID, Matrix Type, Time, Condition. | • System assigns a unique ID at receipt to stop mix-ups and contamination. |
| Sample Portion | A split part of a sample used for internal or external tests. | ID, Parent Reference UID, Split Time. | • System must maintain the link between the fraction and the original sample. |
| Chain of Custody | The complete history of sample transfers from collection to disposal. | ID, Reference UID, Transfer Time, Actors. | • Must create an absolute audit trail across all laboratory stations. |
| Bench Sheet | A log to track sample movement across laboratory stations. | ID, Station ID, Signature, Tracking Array. | • Captures individual chain of custody movements. |
| Requested Test | An analytical procedure (such as pH or nitrates) for a sample. | ID, Reference UID, Type, Scheduled Time. | • Equipment failure or QC failure delays a test independently. |
| Sample Suitability | The quality status of a sample based on limits and container type. | ID, Test ID, Evaluation Flags. | • Evaluated at intake. A sample can be bad for one test but good for another. |
| Provisional Acceptance | A temporary state for a sample while staff clarify missing data. | ID, Request ID, Clarification Notes, Timeout. | • Holds the sample until the customer solves the paperwork error. |
| Instrument Calibration | Adjustment of an instrument with known standards before a test. | ID, Instrument ID, Time, Status. | • Must occur before tests start. Calibration failure stops associated tests. |
| Quality-Control Check | A test run to verify that an instrument operates within error limits. | ID, Method ID, Error Result, Pass Flag. | • Runs concurrently with samples. Bad results cause immediate test delays. |
| Observation | Raw data from an analyst or instrument before calculation or review. | ID, Test ID, Raw Value, Time, Departure Flag. | • Records raw data and notes any changes from standard methods. |
| Provisional Value | An unverified test result that has not passed technical review. | ID, Observation ID, Calculated Value, Status. | • Strict Rule: Do not show this value to the customer. |
| Reportable Result | A finalized value that passed review and quality checks. | ID, Provisional ID, Final Value, Time. | • Moves from provisional to finalized after verification against methods. |
| Unusual Result | A valid test result outside normal baseline levels. | ID, Result ID, Deviation Margin. | • System logs the value as valid. It does not automatically prove pollution. |
| Approved Report | The authorized compilation of finalized results sent to the customer. | Report ID, Version Number, Release Time. | • Locked after authorization. New changes require a version-controlled replacement report. |

## Conceptual Domain Model (UML)

# 6. User Story Backlog & Value Alignment

This appendix provides a stakeholder-value view of the core requirements to bridge behavioural logic with system implementation.

## Role: Reception Technician

Primary actor managing sample intake, preliminary screenings, and provisional state assignments.

US-101: Unique Laboratory Reference Generation

| Element | Specification |
| --- | --- |
| Story ID & Title | US-101: Unique Laboratory Reference Generation |
| User Story Statement | As a Reception Technician, I want the system to auto-generate a unique laboratory_reference ID at the moment of receipt check, so that I eliminate manual transcription errors and bottle mix-ups. |
| Business Value | Eradicates the administrative resource drain of manual paper logs and safeguards physical custody tracing. |
| Traceability Matrix | Mapped to FR-101 ¦ UC-101 ¦ Feature 1 (Scenario 1) |
| MoSCoW Priority | Must Have |
| Acceptance Criteria | 1. Generates a unique alphanumeric ID dynamically the instant the intake verification check is committed. 2. Halts record saving and displays an error message if the ID field remains blank or null. |
| Assumptions & Risks | Assumption: The central Tralee office network connection is completely stable during intake operations. |

US-102: Provisional Status Tracking

| Element | Specification |
| --- | --- |
| Story ID & Title | US-102: Provisional Status Tracking |
| User Story Statement | As a Reception Technician, I want to flag incomplete sample records as "Provisionally Accepted" and capture condition notes, so that I can track data gaps without completely locking the sample entry workflow. |
| Business Value | Eliminates immediate intake operational bottlenecks while systematically highlighting administrative missing links. |
| Traceability Matrix | Mapped to FR-103 ¦ UC-101 (AF-1) ¦ Feature 1 (Scenario Outline) |
| MoSCoW Priority | Must Have |
| Acceptance Criteria | 1. Enforces a mandatory, non-blank receipt_condition_notes text input if the status is set to provisional. 2. Triggers an unalterable, automated 48-hour rejection countdown timer in the database. |
| Assumptions & Risks | Constraint: The provisional sample lifespan cannot be manually overridden past the strict 48-hour shelf-life limit. |

US-103: Sample Suitability Evaluation Matrix

| Element | Specification |
| --- | --- |
| Story ID & Title | US-103: Sample Suitability Evaluation Matrix |
| User Story Statement | As a Reception Technician, I want the system to automatically evaluate receipt temperature, volume, and container type against specific assay rules, so that degraded or non-compliant samples are blocked before entering the lab. |
| Business Value | Prevents the testing of degraded, invalid samples, mitigating downstream data accuracy risks. |
| Traceability Matrix | Mapped to FR-104 ¦ UC-101 (EF-1) ¦ Feature 1 (Critical Defect Scenario) |
| MoSCoW Priority | Should Have |
| Acceptance Criteria | 1. Automatically compares input variables against test_type_code rule matrices upon intake. 2. Automatically changes the state configuration parameter to "Rejected" and locks the sample record if thresholds fail. |
| Assumptions & Risks | Uncertainty: The exact numeric temperature thresholds and container material rules must be definitively mapped out by lab supervisors. |

## Role: Field Technician

Primary operative capturing field collection metrics and navigating unstable network zones.

US-104: Precise Coordinate Mapping

| Element | Specification |
| --- | --- |
| Story ID & Title | US-104: Precise Coordinate Mapping |
| User Story Statement | As a Field Technician, I want to capture exact GPS coordinates and enforce a database link to a parent broad location description, so that I prevent geographic naming ambiguity. |
| Business Value | Satisfies geographical standardization outcomes by separating broad names from precise spatial coordinates. |
| Traceability Matrix | Mapped to FR-102 ¦ UC-102 ¦ Feature 1 (Success Scenario) |
| MoSCoW Priority | Must Have |
| Acceptance Criteria | 1. Establishes a strict structural link between the numeric GPS string and the database location_id. 2. Rejects log submission if the coordinate string is corrupted, missing, or improperly formatted. |
| Assumptions & Risks | Risk: Severe GPS signal loss at remote, deep rural collection points can stall tracking operations. |

US-105: Offline Queue Data Resilience

| Element | Specification |
| --- | --- |
| Story ID & Title | US-105: Offline Queue Data Resilience |
| User Story Statement | As a Field Technician, I want the mobile application to store tracking data logs locally in a device cache when network connectivity drops, so that my field data entries are completely protected without a live connection. |
| Business Value | Counteracts unreliable rural internet connectivity, ensuring data integrity outside the Tralee office. |
| Traceability Matrix | Mapped to NFR-201 ¦ UC-102 (AF-1) ¦ Feature 2 (Offline & Sync Scenarios) |
| MoSCoW Priority | Must Have |
| Acceptance Criteria | 1. Safely stores up to 200 transactional records locally in the device cache without losing data fields. 2. Triggers automatic background synchronization with the central database within 30 seconds of network restoration. |
| Assumptions & Risks | Constraint: Excludes any hardware synchronization or automated sensory telemetry parsing. |

## Role: Laboratory Analyst

Primary technical actor performing assays, instrument check runs, and logging raw measurements.

US-106: Parent-Child Fraction Splitting

| Element | Specification |
| --- | --- |
| Story ID & Title | US-106: Parent-Child Fraction Splitting |
| User Story Statement | As a Laboratory Analyst, I want to split a sample into fractional sub-records that maintain a distinct foreign key link back to the parent sample, so that I can distribute sample portions to distinct internal tests or external referrals. |
| Business Value | Optimizes logistical tracking pathways for split testing runs while completely eliminating parent-child sample confusion. |
| Traceability Matrix | Mapped to FR-105 ¦ UC-101 / UC-103 (AF-1) ¦ Feature 3 (Child Split Scenario) |
| MoSCoW Priority | Must Have |
| Acceptance Criteria | 1. Creates a brand new record where the parent_sample_reference matches the parent unique ID. 2. Toggling external testing mandates the entry of a valid external_laboratory_id. |
| Assumptions & Risks | Assumption: Sample split portions automatically inherit the foundational parent reference data fields. |

US-107: Instrument Interoperability Block

| Element | Specification |
| --- | --- |
| Story ID & Title | US-107: Instrument Interoperability Block |
| User Story Statement | As a Laboratory Analyst, I want the system to automatically change pending test assignments to a delayed state if a machine fails its QC check, so that I prevent the generation of inaccurate data. |
| Business Value | Mitigates data degradation risks and prevents analysts from executing tests on uncalibrated hardware. |
| Traceability Matrix | Mapped to FR-109 ¦ UC-104 / UC-105 (AF-1) ¦ Feature 4 (QC Failure Scenario) |
| MoSCoW Priority | Must Have |
| Acceptance Criteria | 1. Instantly changes the test assignment status parameter to "Delayed" when the target device reads a "Fail" status. 2. Triggers dynamic SLA logic to automatically recalculate estimated completion dates across affected batches. |
| Assumptions & Risks | Constraint: The system will not integrate directly with hardware APIs; all QC metrics must be typed manually. |

## Role: Quality Manager

Primary supervisory actor governing verification workflows, data promotions, and corrected report releases.

US-108: Versioned Correction Tracking

| Element | Specification |
| --- | --- |
| Story ID & Title | US-108: Versioned Correction Tracking |
| User Story Statement | As a Quality Manager, I want the system to force the input of text into revision notes and increment the report version number during corrections, so that the lab maintains an unalterable history of report changes for audits. |
| Business Value | Eliminates reporting vulnerabilities and builds a versioned report governance architecture to protect the cooperative from liability. |
| Traceability Matrix | Mapped to FR-110 ¦ UC-107 ¦ Feature 6 (All Scenarios) |
| MoSCoW Priority | Must Have |
| Acceptance Criteria | 1. Auto-increments the report_version_number sequentially and archives old data parameters inside historical tables. 2. Completely halts the save action and throws a validation error if the revision_reason_notes field is left empty. |
| Assumptions & Risks | Risk: Bypassing the verification flow manually via database overrides could invalidate the report stack integrity. |

## Role: Laboratory Manager

Primary operations actor monitoring velocity, resource allocation, and workflow bottlenecks.

US-109: Dynamic Assignment Validation Check

| Element | Specification |
| --- | --- |
| Story ID & Title | US-109: Dynamic Assignment Validation Check |
| User Story Statement | As a Laboratory Manager, I want the system to verify an analyst's training records before confirming a testing task assignment, so that I ensure uncertified personnel are blocked from processing specialized assays. |
| Business Value | Protects laboratory data integrity by enforcing role-based method allocation rules automatically. |
| Traceability Matrix | Mapped to FR-108 ¦ UC-105 ¦ Feature 4 (Certification Check Scenario) |
| MoSCoW Priority | Should Have |
| Acceptance Criteria | 1. Validates the assigned_analyst_id string directly against the employee's certified_methods array before saving. 2. Displays a clear validation error blocking non-compliant work assignments. |
| Assumptions & Risks | Risk: Delaying entry of newly completed training certificates into the database will artificially block available analysts. |

US-110: Management Alert Escalation Dashboard

| Element | Specification |
| --- | --- |
| Story ID & Title | US-110: Management Alert Escalation Dashboard |
| User Story Statement | As a Laboratory Manager, I want a centralized operational aggregation view showing pending corrections, active instrument delays, and unusual data anomalies, so that I can quickly identify and clear operational bottlenecks. |
| Business Value | Achieves real-time operational pipeline visibility without forcing manual data aggregation or individual spreadsheet lookups. |
| Traceability Matrix | Mapped to FR-111 ¦ UC-108 ¦ Verified by User Interface Data Aggregation Logic |
| MoSCoW Priority | Should Have |
| Acceptance Criteria | 1. Aggregates and renders real-time quantitative counts of unapproved corrected reports, active anomalies, and delayed tests. 2. Strictly adheres to system boundaries; contains zero financial data, invoicing modules, or automated sensory APIs. |
| Assumptions & Risks | Assumption: Unusual data anomaly flags serve as warnings only; they do not assume a pollution event cause. |

## Role: Commercial Customer

Primary customer-facing actor tracking sample processing velocity and fetching reports securely.

US-111: Data Segregation & Multi-Tenant Separation

| Element | Specification |
| --- | --- |
| Story ID & Title | US-111: Data Segregation & Multi-Tenant Separation |
| User Story Statement | As a Commercial Customer, I want the data tier to filter out all unreviewed values and enforce multi-tenant isolation rules, so that my commercially sensitive data is completely hidden from local business competitors. |
| Business Value | Eliminates data visibility vulnerabilities and protects proprietary stakeholder information. |
| Traceability Matrix | Mapped to FR-107 / NFR-202 ¦ UC-105 / UC-109 ¦ Feature 5 (All Scenarios) |
| MoSCoW Priority | Must Have |
| Acceptance Criteria | 1. Filters out observation_measurements_raw and provisional_value parameters from customer portal view schemas. 2. Instantly throws an HTTP 403 Forbidden error response code if the session token context mismatches the requested customer_id. |
| Assumptions & Risks | Rule: Public community contacts on a shared project can view reports only if authorized on the nomination_contacts_list. |

## Role: Compliance

Offstage stakeholder enforcing unalterable tracking records, clear data boundaries, and regulatory proof.

US-112: Immutable Chain of Custody Logging

| Element | Specification |
| --- | --- |
| Story ID & Title | US-112: Immutable Chain of Custody Logging |
| User Story Statement | As a Compliance / ISO 17025 Auditor, I want every physical station transfer or handler change to generate an unalterable row entry automatically, so that I can verify a continuous, audit-ready chain of custody trail. |
| Business Value | Mitigates the risk of sample mix-ups and paper bench sheet vulnerabilities to satisfy accreditation standards. |
| Traceability Matrix | Mapped to FR-106 ¦ UC-103 ¦ Feature 3 (Internal Transfer Scenario) |
| MoSCoW Priority | Must Have |
| Acceptance Criteria | 1. Automatically appends a new row to the tracking table when a sample's transferred_to_location or handler_staff_id alters. 2. Enforces database-level write-protection rules that block all user roles from updating or deleting existing log history entries. |
| Assumptions & Risks | Risk: If the digital interface is too complex, laboratory technicians may attempt to bypass tracking steps, creating audit trail gaps. |

# 7. Traceability & Project Execution

## Traceability Matrix

| Problem / Desired Outcome | Requirement ID | Use Case ID | Gherkin Acceptance Scenario | Domain Concepts |
| --- | --- | --- | --- | --- |
| Data Entry Errors / Unified Digital Platform | FR-101 (Unique Identification Generation) | UC-101 Register Sample & Verify Suitability | Feature 1: System registers an environmental water sample with success | Environmental Sample, Laboratory Reference, Reception Technician |
| Data Ambiguity / Geographical Standardization | FR-102 (Spatial Coordinate Mapping) | UC-102 Track Field Collection & Map Coordinates | Feature 1: System registers an environmental water sample with success | Sampling Location, Sampling Point, Field Technician |
| Administrative Resource Drain / Intake Paper Silos | FR-103 (Conditional Acceptance Status Management) | UC-101 Register Sample & Verify Suitability | Feature 1: Intake check sets sample to provisional status... | Provisional Acceptance, Reception Technician, Sample Request |
| QC Risk / Testing Degraded Samples | FR-104 (Sample Suitability Evaluation Matrix) | UC-101 Register Sample & Verify Suitability | Feature 1: Critical sample defect causes rejection... | Sample Suitability, Requested Test, Reception Technician |
| Critical Custody Failure / Sample Bottle Mix-ups | FR-105 (Parent-Child Fraction Splits) | UC-101 / UC-103 (Split Portion Inheritance) | Feature 3: System generates a child split fraction for an external test | Sample Portion, External Specialist Laboratory, Analyst |
| Critical Custody Failure / Fragmented Bench Sheets | FR-106 (Immutable Chain of Custody Logging) | UC-103 Log Chain of Custody & Internal Transfers | Feature 3: Internal location change updates the custody logs automatically | Chain of Custody, Bench Sheet, Personnel |
| Information Security / Provisional Value Exposure | FR-107 (Data Segregation & Promotion Workflow) | UC-105 / UC-106 (Result Verification & Release) | Feature 5: Data separation hides raw measurements from the customer portal | Observation / Measurement, Provisional Value, Reportable Result |
| Administrative Bottlenecks / Staff Certification | FR-108 (Dynamic Assignment Validation Check) | UC-105 Execute Test Assignment & Log Measurements | Feature 4: System checks analyst certification before a test assignment | Analyst, Requested Test, Personnel |
| Quality Control / Machine Availability Failures | FR-109 (Instrument Interoperability Block) | UC-104 / UC-105 (Instrument Delay Event) | Feature 4: Quality control check failure locks the instrument automatically | Instrument Calibration, Quality-Control (QC) Check, Requested Test |
| Reporting Vulnerabilities / Post-Release Errors | FR-110 (Versioned Correction Tracking) | UC-107 Authorize Version-Controlled Corrected Report | Feature 6: System compels revision notes and increases the version number... | Approved Report, Corrected Report, Quality Manager |
| Real-Time Operational Visibility for Managers | FR-111 (Management Alert Escalation Dashboard) | UC-108 Monitor Operations Dashboard & Bottlenecks | Verified by user interface data collection rules | Laboratory Manager, Unusual Result, External Specialist Laboratory |
| Unreliable Rural Connectivity (Assumption/Risk) | NFR-201 (Offline Queue Data Resilience) | UC-102 Track Field Collection & Map Coordinates | Feature 2: System stores collection logs in the local cache... / Automatic synchronization... | Field Technician, Partner Organisation |
| Information Security / Customer Privacy Breach | NFR-202 (Multi-Tenant Tenant Separation) | UC-109 Access Authorized Laboratory Reports Securely | Feature 5: System blocks a customer query that tries to read data from a different customer | Customer, Approved Report, Multi-Tenant Separation |
| Real-Time Visibility / Dynamic SLA Notifications | NFR-203 (Automated Alert Notification Latency) | UC-101 (Exception Flow EF-1) | Feature 1: Critical sample defect causes rejection and sends alert to customer | Customer, Sample Suitability, Notification Subsystem |
| Strict Out-of-Scope Boundaries (Scope Creep Risk) | NFR-204 (Out-of-Scope System Boundaries) | UC-108 (Scope Limit Rule) | Verified by software structure test rules | Laboratory Manager, External Dependencies |

## Recommended Repository Structure

ketco-udp-analysis/ ├── README.md ├── report/ │ └── final-specification-report.md ├── requirements/ │ ├── functional-requirements.md │ └── non-functional-requirements.md ├── features/ │ ├── 01-intake-and-mapping.feature │ ├── 02-offline-field-collection.feature │ ├── 03-chain-of-custody.feature │ ├── 04-lab-operations-and-instruments.feature │ ├── 05-data-privacy-and-segregation.feature │ └── 06-versioned-reports.feature ├── diagrams/ │ ├── use-case-model.puml │ └── domain-model.puml ├── decisions/ │ ├── ADR-001-offline-data-caching.md │ └── ADR-002-data-segregation-architecture.md └── references/ ├── asd-ste100-guidelines.pdf └── iso-17025-compliance-notes.txt

# 8. Reflection & AI Declaration

## Critical Design Decisions & Revisions

## Limitations & Unresolved Questions

- The explicit numeric values mapping specific container material types to specialized soil test boundaries need validation from final lab managers.

- Access permissions mapping out exactly what fields partner organizations can see during transit if data rules change.

## AI Level Disclosure & Interaction Log

AI Declaration: I used generative AI tools to support the creation of this document. Specifically for these three tasks:

- To help learn and understand the technical materials and laboratory workflows discussed in class.

- To guide the structure and development of this specification document.

- To format text columns, tables, and lists to conform with the ASD-STE100 standard.

I made all engineering decisions and analysis. I verified all data, rules, and system boundaries against the class project requirements.

Per section, the generative AI structured the text layouts, standardized tabular information, and modified the

language syntax to conform to the ASD-STE100 standard (Simplified Technical English).